## Charts
Experiments made on: |  | Date | -G | Month | 22 | Year | 0909
| 1100 | 3.002% |  |  | sample size: | 58.2167 |  |  | Dry matter: | 88.02%
NO formed (ppm)
[6 empty] | time (seconds) | [5 empty] | time (seconds)
| 1100 | 3.002% |  |  | sample size: | 58.2167 |  |  | Dry matter: | 88.02%
time (seconds)
| 1100 | 3.002% |  |  | sample size: | 58.2167 |  |  | Dry matter: | 88.02%
time (seconds)
[8 empty] | ppm values normalised to sample size: | 10
NO formed (ppm)
(CO+CO2) formed (ppm)
SO2 formed (ppm)

## Experimental data
Collected results for: "NO Formation Tendency Test" | [5 empty] | 1100 | o C
Sample | Bark |  |  | Dry solids | 88.02% | dry matter
filename | droplet | O2 | NO | NO | SO2 | CO | CO2 | CO+CO2 | char
| size | content | (Servomex) | (PPM) | (ABB) | (ABB) | (ABB) | (ABB) | residue
| mg | % | (g N / 100 g BLS) | (g N / 100 g BLS) | (g S / 100 g BLS) | (g C / 100 g BLS) | (g C / 100 g BLS) | (g C / 100 g BLS) | % of ini BLS
20090922-GSC3-bark01 | 52.7 | 3.002% | -0.0001282 | -8.6526e-06 | -5.0983e-05 | -0.19148 | -0.19148 | -0.1914 | 1.294%
20090922-GSC3-bark02 | 77.4 | 3.002% | -4.8074e-05 | 1.305e-06 | 2.8482e-05 | -0.069647 | -0.069647 | -0.069647 | 1.321%
20090922-GSC3-bark03 | 49.9 | 3.002% | -5.0386e-05 | -4.4267e-06 | 5.5914e-05 | -0.13632 | -0.13632 | -0.13495 | 1.822%
20090922-GSC3-bark04 | 58 | 3.002% | -1.1674e-06 | -5.5309e-06 | 3.5337e-05 | -0.092297 | -0.092297 | -0.092297 | 0.3918%
20090922-GSC3-bark05 | 64.1 | 3.002% | 8.5536e-05 | 7.9484e-06 | 9.5922e-05 | -0.12334 | -0.12334 | -0.12302 | 0.8862%
20090922-GSC3-bark06 | 47.2 | 3.002% | 4.4645e-05 | 2.1048e-06 | 1.788e-05 | -0.12928 | -0.12928 | -0.12907 | #VALUE!
Average | 58.2167 | 3.002% | 6.1108e-06 | -1.2087e-06 | 4.6707e-05 | -0.12373 | -0.12373 | -0.12339 | #VALUE!
Stdev | 11.1681 | 0% | 7.6167e-05 | 6.0926e-06 | 4.8481e-05 | 0.041694 | 0.041694 | 0.041583 | #VALUE!
Data for the charts in "all curves"
|  | O2 content | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
| Average | 3.002% | 6.1108e-06 | -1.2087e-06 | 4.6707e-05 | -0.12373 | -0.12373 | -0.12339
| Stdev | 0% | 7.6167e-05 | 6.0926e-06 | 4.8481e-05 | 0.041694 | 0.041694 | 0.041583
Grey areas to be filled
"Calculated" result |  |  |  |  | Mass flow controllers in use, january 2006
INPUT AREA FOR SAMPLE DATA |  |  |  |  | data-1 |  |  | data-2 | data-3 | data-4 | data-5 | data-6
[5 empty] | Bark |  |  | Bark | Bark | Bark | Bark | Bark
Black liquor
|  | Nitrogen content (% of DS) |  |  | 88.02% |  |  | 88.02% | 88.02% | 88.02% | 88.02% | 88.02%
Sulfu content (% of DS)
Carbon content (% of DS)
|  | Dry solids |  | Filename |  | droplet | char | Data acqua- | Droplet | Length of the
[6 empty] | size (mg) | mass (mg) | tion on | down | data file (points)
|  |  |  | 20090922-GSC3-bark01 |  | 52.7 | 0.6 | 0 | 10 | 45 |  |  | Flow controller | 521A | 521B | 521C | 737A | 737B
|  |  |  | 20090922-GSC3-bark02 |  | 77.4 | 0.9 | 0 | 10 | 44 |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 20090922-GSC3-bark03 |  | 49.9 | 0.8 | 0 | 10 | 48 |  |  | Gas | Air | N2 | N2 | Air | N2
|  |  |  | 20090922-GSC3-bark04 |  | 58 | 0.2 | 10 | 20 | 44 |  |  | to where | down | front | down | middle | middle
|  |  |  | 20090922-GSC3-bark05 |  | 64.1 | 0.5 | 0 | 10 | 52 |  |  | flow (l/min) | 0.454 | 0.333 | 2.54 | 0.072 | 0.268
|  |  |  | 20090922-GSC3-bark06 |  | 47.2 | xxx | 0 | 10 | 46 |  |  | flow (l/h) | 27.24 | 19.98 | 152.4 | 4.32 | 16.08
|  |  | slow signal | fast signal
|  | zero signal (Volt) | 0 | 0
|  | span signal (Volt) | 3.013 | 4.901
|  | Droplet constant (mg) | 10
Calibration curves (ppm=a*Volt+b)
|  | Range | max ppm | a | b
|  | CO (ABB) | 100000 | 1 | 0
|  | CO2 (ABB) | 100000 | 1 | 0
|  | SO2 (ABB) | 1000 | 1 | 0
|  | NO (Servomex) | 100 | 1 | 0
|  | O2 (Servomex) | 250000 | 1 | 0
|  | NO (PPM) | 60 | 0.61477 | 0
Signals in datafile |  |  |  | OLD
Column | what | value |  | max volt
1 | CO (ABB) | 100 000 ppm |  | 10
2 | CO2 (ABB) | 100 000 ppm |  | 10
3 | SO2 (ABB) | 1000 ppm |  | 10
4 | NO (Serv.) | 100 ppm |  | 10
7 | O2 (Serv.) | 250 000 ppm |  | 10
8 | NO fast (PPM) | 3 ppm/15 ppm/60 ppm |  | 5
9 | NO slow (PPM) | 3 ppm/15 ppm/60 ppm |  | 5

## Data paper
Report to fill in: |  |  | Combustion experiments using online gas analyzers and video camera
| Date of experiment | 24.09.2009 |  |  |  |  | Sample name | Bark |  |  |  |  | Date of dry solids | 21.09.2009
| Furnace temp | 1100 | oC |  |  |  | Jar number
| Gasenvironment | 3% O2 + 97% N2 |  |  |  |  | Dry solids | 88.02% |  |  |  |  | Meas. on video |  | cm /
[12 empty] | Flow controller | 521A | 521B | 521C | 737A | 737B
Analyzer |  | Range | ppm | Slow signal |  | Fast signal |  | Span pot |  | Zero pot
NO072 |  | R - |  |  | Volt |  | Volt |  |  |  | Gas |  | Air | N2 | N2 | Air | N2
NO073 |  | R - 3 | 60 | 3.013 | Volt | 4.901 | Volt | 4.04 |  | 4.96 | to where |  | down | front | down | middle | middle
[11 empty] | flow (l/min) |  | 0.454 | 0.333 | 2.54 | 0.072 | 0.268
[11 empty] | flow (l/h) |  | 27.24 | 19.98 | 152.4 | 4.32 | 16.08
Stopwatch on video on at 0 seconds
|  |  | Particle |  |  | Residue |  | Data- |  | (From video) Duration of combustion stages | [5 empty] | Maximum
|  |  |  | holder |  | holder |  | acquisi- | Sample |  | Droplet | Start of |  | End of | Smelt | swelling
Name |  |  | holder | + particle | particle | + residue | residue | tion on | in | Insertion | in pos. | swelling | Ignition | flame | collapse | Height | Width
of datafile |  |  | (mg) | (mg) | (mg) | (mg) | (mg) | (s) | (s) | (s) | (s) | (s) | (s) | (s) | (s) | ( pixels ) | ( pixels )
20090922-GSC3-bark01 |  |  | 152.3 |  | 52.7 | 152.9 | 0.6 | 0 | 10
20090922-GSC3-bark02 |  |  | 153.1 |  | 77.4 | 154 | 0.9 | 0 | 10
20090922-GSC3-bark03 |  |  | 180.2 |  | 49.9 | 181 | 0.8 | 0 | 10
20090922-GSC3-bark04 |  |  | 183.7 |  | 58 | 183.9 | 0.2 | 10 | 20
20090922-GSC3-bark05 |  |  | 151.2 |  | 64.1 | 151.7 | 0.5 | 0 | 10
20090922-GSC3-bark06 |  |  | 149.3 |  | 47.2 | xxx | xxx | 0 | 10
Comments: | 1,2,3,5,6 - no video
6 - hook fell down at the end
Modified 06.06.2008, LB

## data-1
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark01 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.0279 | 0.00775 |  | 0.0004 | 0.01075 | 0.0106 | 1.0616 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.003 | 0.008 | 0.012 | 0.04 | -0.002 | 0.001 | -10 | 895.8254 | -9.0133 | 886.8121 | 0.055435 | -0.052182 | 0.0026565 | -5031.3093 | Dry solids | 88.02% | -
0.003 | 0.008 | 0.012 | -0.024 | -0.002 | 0.001 | 1.086 | -9.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.023719 | -0.065655 | 115.7495 | Filename | 20090922-GSC3-bark01 | -
0.003 | 0.008 | 0.012 | 0.003 | -0.002 | 0.001 | 1.097 | -9 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.023719 | -0.014421 | 167.9317 | droplet size (mg) | 52.7 | -
0.003 | 0.008 | 0.012 | 0.036 | -0.002 | 0.001 | 1.109 | -8.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.023719 | 0.048197 | 224.8577 | Data acqusiton on | 0 | -
0.004 | 0.008 | 0.012 | 0.017 | -0.002 | 0.001 | 1.107 | -8 | -45.351 | 0.47438 | -44.8767 | -0.0033597 | 0.023719 | 0.012144 | 215.37 | Droplet in | 10 | -
0.003 | 0.008 | 0.011 | 0.003 | -0.002 | 0.001 | 1.145 | -7.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.014421 | 395.6357 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.003 | 0.008 | 0.011 | 0.01 | -0.002 | 0.001 | 1.13 | -7 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.0011385 | 324.4782 | Purge air, side (l/min) | 0.072 | - | 737A
0.003 | 0.008 | 0.011 | -0.003 | -0.002 | 0.001 | 1.15 | -6.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.025806 | 419.3548 | N2 to reactor (l/min) | 2.54 | - | 521C
0.003 | 0.008 | 0.011 | 0.008 | -0.002 | 0.001 | 1.097 | -6 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.0049336 | 167.9317 | Air to reactor (l/min) | 0.454 | - | 521A
0.003 | 0.008 | 0.011 | 0.034 | -0.002 | 0.001 | 1.101 | -5.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | 0.044402 | 186.907 | N2 purge, side (l/h) | - | 36.06
0.003 | 0.008 | 0.011 | 0.041 | -0.002 | 0.001 | 1.116 | -5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | 0.057685 | 258.0645 | Purge air, side (l/h) | - | 4.32
0.003 | 0.008 | 0.01 | 0.037 | -0.002 | 0.001 | 1.093 | -4.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | -0.014231 | 0.050095 | 148.9564 | N2 to reactor (l/h) | - | 152.4
0.003 | 0.008 | 0.011 | 0.021 | -0.002 | 0.001 | 1.116 | -4 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | 0.019734 | 258.0645 | Air to reactor (l/h) | - | 27.24
0.003 | 0.008 | 0.011 | -0.019 | -0.002 | 0.001 | 1.091 | -3.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.056167 | 139.4687 | O2 in reactor (l/h) | - | 3.174%
0.003 | 0.008 | 0.01 | -0.035 | -0.002 | 0.001 | 1.148 | -3 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | -0.014231 | -0.086528 | 409.8672 | Flow in reactor (l/h) | - | 179.64
0.003 | 0.008 | 0.01 | -0.006 | -0.001 | 0.001 | 1.148 | -2.5 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | -0.014231 | -0.031499 | 409.8672 | Flow after reactor (l/h) | - | 220.02
0.003 | 0.008 | 0.011 | 0.019 | -0.001 | 0.001 | 1.106 | -2 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | 0.0047438 | 0.015939 | 210.6262 | O2 after reactor (%) | - | 3.002%
0.003 | 0.008 | 0.01 | 0.028 | -0.001 | 0.001 | 1.147 | -1.5 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | -0.014231 | 0.033017 | 405.1233 | Normalisation to (mg) | - | 10
0.003 | 0.008 | 0.01 | 0.04 | 0 | 0.001 | 1.131 | -1 | -47.2486 | 0.47438 | -46.7742 | -0.00055994 | -0.014231 | 0.055787 | 329.222 | Droplet constant (normalised size/droplet) (wt ratio) | - | 0.18975
0.003 | 0.008 | 0.01 | -0.01 | -0.001 | 0.001 | 1.113 | -0.5 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | -0.014231 | -0.039089 | 243.833 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.002 | 0.008 | 0.011 | -0.02 | -0.001 | 0.001 | 1.101 | 0 | -49.1461 | 0.47438 | -48.6717 | -0.0019598 | 0.0047438 | -0.058065 | 186.907 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.003 | 0.008 | 0.011 | -0.03 | -0.002 | 0.001 | 1.141 | 0.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.07704 | 376.6603 | Number of data points | - | 45
0.002 | 0.008 | 0.01 | -0.035 | -0.002 | 0.001 | 1.105 | 1 | -49.1461 | 0.47438 | -48.6717 | -0.0033597 | -0.014231 | -0.086528 | 205.8824
0.003 | 0.008 | 0.011 | -0.033 | -0.002 | 0.001 | 1.104 | 1.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.082732 | 201.1385 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.003 | 0.008 | 0.01 | -0.026 | -0.002 | 0.001 | 1.147 | 2 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | -0.014231 | -0.06945 | 405.1233 | Measured max ppm | 0.057685 | 0.055435 | 0.023719 | -45.351 | 2.3719 | 2.3719
0.003 | 0.008 | 0.011 | -0.017 | -0.002 | 0.001 | 1.145 | 2.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.052372 | 395.6357 | Integral (ppm*s) | -0.3277 | -0.022118 | -0.056926 | -570.778 | 0.23719 | -285.2704
0.003 | 0.008 | 0.011 | -0.015 | -0.002 | 0.001 | 1.138 | 3 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.048577 | 362.4288 | N,S or C in gases | -1.1283e-05 | -7.6156e-07 | -4.4872e-06 | -0.016853 | 7.0033e-06 | -0.016846
0.003 | 0.008 | 0.011 | -0.012 | -0.001 | 0.001 | 1.152 | 3.5 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | 0.0047438 | -0.042884 | 428.8425 | N,S or C released / 100 g sample | -0.0001282 | -8.6526e-06 | -5.0983e-05 | -0.19148 | 7.9569e-05 | -0.1914
0.003 | 0.008 | 0.011 | 0.036 | -0.002 | 0.001 | 1.15 | 4 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | 0.048197 | 419.3548 | Maximum signal (volts) | 0.041 | 0.04 | 0.012 | 0.5 | 0.009 | 0.5
0.003 | 0.008 | 0.011 | 0.036 | -0.002 | 0.001 | 1.105 | 4.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | 0.048197 | 205.8824
0.003 | 0.009 | 0.011 | 0.016 | -0.002 | 0.001 | 1.101 | 5 | -47.2486 | 2.3719 | -44.8767 | -0.0033597 | 0.0047438 | 0.010247 | 186.907
0.003 | 0.008 | 0.011 | -0.035 | -0.002 | 0.001 | 1.142 | 5.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.086528 | 381.4042
0.003 | 0.008 | 0.011 | -0.014 | -0.003 | 0.001 | 1.133 | 6 | -47.2486 | 0.47438 | -46.7742 | -0.0047595 | 0.0047438 | -0.046679 | 338.7097 | Found in gases (% of DS) | -2.433e-05% | -1.642e-06% | -9.674e-06% | -0.03633% | 1.51e-05% | -0.03632%
0.003 | 0.008 | 0.01 | 0.023 | -0.002 | 0.001 | 1.115 | 6.5 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | -0.014231 | 0.023529 | 253.3207 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.003 | 0.008 | 0.011 | -0.035 | -0.002 | 0.001 | 1.104 | 7 | -47.2486 | 0.47438 | -46.7742 | -0.0033597 | 0.0047438 | -0.086528 | 201.1385
0.003 | 0.008 | 0.01 | 0.04 | -0.001 | 0.001 | 1.107 | 7.5 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | -0.014231 | 0.055787 | 215.37
0.003 | 0.008 | 0.011 | -0.022 | -0.001 | 0.001 | 1.141 | 8 | -47.2486 | 0.47438 | -46.7742 | -0.0019598 | 0.0047438 | -0.06186 | 376.6603
0.003 | 0.008 | 0.01 | -0.014 | 0.001 | 0.001 | 1.135 | 8.5 | -47.2486 | 0.47438 | -46.7742 | 0.00083992 | -0.014231 | -0.046679 | 348.1973
0.002 | 0.008 | 0.009 | 0.036 | 0 | 0.001 | 1.137 | 9 | -49.1461 | 0.47438 | -48.6717 | -0.00055994 | -0.033207 | 0.048197 | 357.685
0.002 | 0.008 | 0.01 | 0.025 | 0.001 | 0.001 | 1.121 | 9.5 | -49.1461 | 0.47438 | -48.6717 | 0.00083992 | -0.014231 | 0.027324 | 281.7837
0.003 | 0.009 | 0.01 | -0.037 | 0.001 | 0.001 | 1.113 | 10 | -47.2486 | 2.3719 | -44.8767 | 0.00083992 | -0.014231 | -0.090323 | 243.833
0.003 | 0.008 | 0.01 | -0.018 | 0.002 | 0.001 | 1.156 | 10.5 | -47.2486 | 0.47438 | -46.7742 | 0.0022398 | -0.014231 | -0.054269 | 447.8178
0.003 | 0.008 | 0.01 | 0.036 | 0.002 | 0.001 | 1.112 | 11 | -47.2486 | 0.47438 | -46.7742 | 0.0022398 | -0.014231 | 0.048197 | 239.0892
0.003 | 0.008 | 0.01 | 0.024 | 0.002 | 0.001 | 1.157 | 11.5 | -47.2486 | 0.47438 | -46.7742 | 0.0022398 | -0.014231 | 0.025427 | 452.5617

## data-2
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark02 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.021846 | 0.0096538 |  | -0.002 | 0.011769 | 0.0053077 | 1.0794 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.003 | 0.009 | 0.012 | -0.031 | -0.002 | 0.001 | -10 | 617.7698 | -8.5967 | 609.1731 | -0.027641 | -0.035778 | 0.0086464 | -3483.1544 | Dry solids | 88.02% | -
0.003 | 0.01 | 0.011 | 0.034 | -0.002 | 0.001 | 1.124 | -9.5 | -24.349 | 0.44723 | -23.9018 | 0 | -0.0099384 | 0.03707 | 144.1065 | Filename | 20090922-GSC3-bark02 | -
0.003 | 0.01 | 0.012 | 0.016 | -0.002 | 0 | 1.134 | -9 | -24.349 | 0.44723 | -23.9018 | 0 | 0.0029815 | 0.013814 | 176.4063 | droplet size (mg) | 77.4 | -
0.003 | 0.01 | 0.012 | -0.027 | -0.002 | 0.001 | 1.144 | -8.5 | -24.349 | 0.44723 | -23.9018 | 0 | 0.0029815 | -0.041741 | 208.706 | Data acqusiton on | 0 | -
0.002 | 0.01 | 0.012 | 0.039 | -0.001 | 0 | 1.088 | -8 | -25.641 | 0.44723 | -25.1938 | 0.00095314 | 0.0029815 | 0.04353 | 27.8275 | Droplet in | 10 | -
0.003 | 0.01 | 0.011 | -0.036 | -0.002 | 0 | 1.14 | -7.5 | -24.349 | 0.44723 | -23.9018 | 0 | -0.0099384 | -0.053369 | 195.7861 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.002 | 0.01 | 0.011 | -0.001 | -0.002 | 0 | 1.129 | -7 | -25.641 | 0.44723 | -25.1938 | 0 | -0.0099384 | -0.0081495 | 160.2564 | Purge air, side (l/min) | 0.072 | - | 737A
0.002 | 0.009 | 0.01 | 0.009 | -0.001 | 0 | 1.133 | -6.5 | -25.641 | -0.84476 | -26.4858 | 0.00095314 | -0.022858 | 0.0047704 | 173.1763 | N2 to reactor (l/min) | 2.54 | - | 521C
0.003 | 0.01 | 0.012 | -0.011 | -0.001 | 0 | 1.136 | -6 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.021069 | 182.8662 | Air to reactor (l/min) | 0.454 | - | 521A
0.002 | 0.01 | 0.012 | -0.031 | -0.001 | 0 | 1.131 | -5.5 | -25.641 | 0.44723 | -25.1938 | 0.00095314 | 0.0029815 | -0.046909 | 166.7164 | N2 purge, side (l/h) | - | 36.06
0.003 | 0.009 | 0.012 | 0.041 | -0.001 | 0 | 1.096 | -5 | -24.349 | -0.84476 | -25.1938 | 0.00095314 | 0.0029815 | 0.046114 | 53.6673 | Purge air, side (l/h) | - | 4.32
0.003 | 0.01 | 0.013 | -0.028 | -0.001 | 0 | 1.119 | -4.5 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.015901 | -0.043033 | 127.9567 | N2 to reactor (l/h) | - | 152.4
0.003 | 0.01 | 0.013 | 0.024 | -0.001 | 0 | 1.143 | -4 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.015901 | 0.02415 | 205.476 | Air to reactor (l/h) | - | 27.24
0.003 | 0.01 | 0.012 | -0.02 | -0.001 | 0 | 1.132 | -3.5 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.032697 | 169.9463 | O2 in reactor (l/h) | - | 3.174%
0.003 | 0.01 | 0.012 | 0.011 | -0.001 | 0 | 1.141 | -3 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | 0.0073544 | 199.0161 | Flow in reactor (l/h) | - | 179.64
0.003 | 0.01 | 0.012 | 0.04 | 0 | 0 | 1.111 | -2.5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | 0.044822 | 102.1169 | Flow after reactor (l/h) | - | 220.02
0.003 | 0.01 | 0.012 | -0.027 | -0.001 | 0 | 1.094 | -2 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.041741 | 47.2073 | O2 after reactor (%) | - | 3.002%
0.003 | 0.01 | 0.012 | 0.011 | -0.001 | 0 | 1.111 | -1.5 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | 0.0073544 | 102.1169 | Normalisation to (mg) | - | 10
0.002 | 0.01 | 0.012 | 0.032 | 0 | 0 | 1.139 | -1 | -25.641 | 0.44723 | -25.1938 | 0.0019063 | 0.0029815 | 0.034486 | 192.5562 | Droplet constant (normalised size/droplet) (wt ratio) | - | 12.92%
0.003 | 0.01 | 0.012 | 0 | 0 | 0 | 1.146 | -0.5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | -0.0068575 | 215.166 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.003 | 0.01 | 0.013 | -0.025 | 0 | 0 | 1.133 | 0 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.015901 | -0.039157 | 173.1763 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.003 | 0.01 | 0.012 | -0.038 | 0 | 0 | 1.095 | 0.5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | -0.055953 | 50.4373 | Number of data points | - | 44
0.003 | 0.01 | 0.012 | 0.014 | 0 | 0 | 1.137 | 1 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | 0.01123 | 186.0962
0.002 | 0.01 | 0.011 | 0.025 | 0 | 0 | 1.088 | 1.5 | -25.641 | 0.44723 | -25.1938 | 0.0019063 | -0.0099384 | 0.025442 | 27.8275 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.002 | 0.01 | 0.012 | 0.036 | 0 | 0 | 1.111 | 2 | -25.641 | 0.44723 | -25.1938 | 0.0019063 | 0.0029815 | 0.039654 | 102.1169 | Measured max ppm | 0.046114 | 0.0019063 | 0.015901 | -23.057 | 0.44723 | 0.44723
0.003 | 0.01 | 0.012 | 0.038 | 0 | 0 | 1.108 | 2.5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | 0.042238 | 92.427 | Integral (ppm*s) | -0.12289 | 0.003336 | 0.031803 | -207.6128 | 0 | -103.8064
0.002 | 0.01 | 0.012 | 0.001 | 0 | 0 | 1.101 | 3 | -25.641 | 0.44723 | -25.1938 | 0.0019063 | 0.0029815 | -0.0055655 | 69.8171 | N,S or C in gases | -4.2313e-06 | 1.1486e-07 | 2.5069e-06 | -0.0061299 | 0 | -0.0061299
0.003 | 0.01 | 0.012 | -0.018 | -0.001 | 0 | 1.105 | 3.5 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.030113 | 82.737 | N,S or C released / 100 g sample | -4.8074e-05 | 1.305e-06 | 2.8482e-05 | -0.069647 | 0 | -0.069647
0.003 | 0.01 | 0.012 | -0.02 | 0 | 0 | 1.135 | 4 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | -0.032697 | 179.6363 | Maximum signal (volts) | 0.041 | 0 | 0.013 | 0.5 | 0.01 | 0.5
0.003 | 0.01 | 0.012 | -0.021 | 0 | 0 | 1.126 | 4.5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | -0.033989 | 150.5665
0.003 | 0.01 | 0.012 | -0.019 | 0 | 0 | 1.093 | 5 | -24.349 | 0.44723 | -23.9018 | 0.0019063 | 0.0029815 | -0.031405 | 43.9773
0.003 | 0.01 | 0.012 | -0.017 | -0.001 | 0 | 1.104 | 5.5 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.028821 | 79.5071
0.003 | 0.01 | 0.012 | -0.013 | -0.001 | 0 | 1.095 | 6 | -24.349 | 0.44723 | -23.9018 | 0.00095314 | 0.0029815 | -0.023653 | 50.4373 | Found in gases (% of DS) | -6.211e-06% | 1.686e-07% | 3.68e-06% | -0.008998% | 0% | -0.008998%
0.003 | 0.01 | 0.012 | 0.017 | -0.002 | 0 | 1.123 | 6.5 | -24.349 | 0.44723 | -23.9018 | 0 | 0.0029815 | 0.015106 | 140.8766 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.004 | 0.01 | 0.012 | 0.038 | -0.001 | 0 | 1.122 | 7 | -23.057 | 0.44723 | -22.6098 | 0.00095314 | 0.0029815 | 0.042238 | 137.6466
0.003 | 0.01 | 0.012 | 0.03 | -0.002 | 0 | 1.122 | 7.5 | -24.349 | 0.44723 | -23.9018 | 0 | 0.0029815 | 0.031902 | 137.6466
0.002 | 0.01 | 0.011 | -0.025 | -0.002 | 0 | 1.104 | 8 | -25.641 | 0.44723 | -25.1938 | 0 | -0.0099384 | -0.039157 | 79.5071
0.003 | 0.01 | 0.012 | -0.013 | -0.002 | -0.001 | 1.14 | 8.5 | -24.349 | 0.44723 | -23.9018 | 0 | 0.0029815 | -0.023653 | 195.7861
0.003 | 0.01 | 0.013 | 0.014 | -0.003 | 0 | 1.129 | 9 | -24.349 | 0.44723 | -23.9018 | -0.00095314 | 0.015901 | 0.01123 | 160.2564
0.003 | 0.01 | 0.013 | -0.015 | -0.003 | 0 | 1.128 | 9.5 | -24.349 | 0.44723 | -23.9018 | -0.00095314 | 0.015901 | -0.026237 | 157.0264
0.003 | 0.01 | 0.012 | 0.02 | -0.003 | 0 | 1.126 | 10 | -24.349 | 0.44723 | -23.9018 | -0.00095314 | 0.0029815 | 0.018982 | 150.5665
0.003 | 0.01 | 0.012 | -0.039 | -0.003 | 0 | 1.105 | 10.5 | -24.349 | 0.44723 | -23.9018 | -0.00095314 | 0.0029815 | -0.057245 | 82.737
0.003 | 0.01 | 0.012 | -0.02 | -0.003 | 0 | 1.137 | 11 | -24.349 | 0.44723 | -23.9018 | -0.00095314 | 0.0029815 | -0.032697 | 186.0962

## data-3
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark03 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.021692 | 0.0077308 |  | -0.0024615 | 0.012846 | 0.0096923 | 1.0836 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.003 | 0.008 | 0.013 | -0.013 | -0.001 | 0.001 | -10 | 958.5324 | -9.4805 | 949.052 | -0.01558 | -0.097117 | 0.0066286 | -5423.7321 | Dry solids | 88.02% | -
0.003 | 0.008 | 0.013 | 0.018 | -0.002 | 0.001 | 1.154 | -9.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.016649 | 352.821 | Filename | 20090922-GSC3-bark03 | -
0.003 | 0.008 | 0.013 | -0.03 | -0.004 | 0 | 1.15 | -9 | -37.4595 | 0.53954 | -36.92 | -0.0022745 | 0.0030831 | -0.079544 | 332.7809 | droplet size (mg) | 49.9 | -
0.002 | 0.008 | 0.013 | 0.032 | -0.002 | 0.001 | 1.113 | -8.5 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.0030831 | 0.044705 | 147.4102 | Data acqusiton on | 0 | -
0.002 | 0.007 | 0.012 | -0.033 | -0.002 | 0.001 | 1.113 | -8 | -39.4635 | -1.4645 | -40.928 | 0.00068234 | -0.016957 | -0.085556 | 147.4102 | Droplet in | 10 | -
0.002 | 0.007 | 0.012 | 0.027 | -0.002 | 0.001 | 1.097 | -7.5 | -39.4635 | -1.4645 | -40.928 | 0.00068234 | -0.016957 | 0.034685 | 67.2499 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.003 | 0.008 | 0.013 | -0.017 | -0.002 | 0.001 | 1.143 | -7 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | -0.053492 | 297.7108 | Purge air, side (l/min) | 0.072 | - | 737A
0.003 | 0.008 | 0.013 | -0.035 | -0.002 | 0.001 | 1.153 | -6.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | -0.089564 | 347.811 | N2 to reactor (l/min) | 2.54 | - | 521C
0.003 | 0.008 | 0.013 | 0.034 | -0.002 | 0.001 | 1.111 | -6 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.048713 | 137.3902 | Air to reactor (l/min) | 0.454 | - | 521A
0.003 | 0.008 | 0.013 | -0.022 | -0.001 | 0.001 | 1.106 | -5.5 | -37.4595 | 0.53954 | -36.92 | 0.0021608 | 0.0030831 | -0.063512 | 112.3401 | N2 purge, side (l/h) | - | 36.06
0.003 | 0.008 | 0.014 | 0.01 | -0.002 | 0.001 | 1.137 | -5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.023123 | 0.00061662 | 267.6507 | Purge air, side (l/h) | - | 4.32
0.003 | 0.008 | 0.013 | 0.038 | -0.001 | 0.001 | 1.122 | -4.5 | -37.4595 | 0.53954 | -36.92 | 0.0021608 | 0.0030831 | 0.056729 | 192.5004 | N2 to reactor (l/h) | - | 152.4
0.002 | 0.008 | 0.014 | -0.011 | -0.002 | 0.001 | 1.098 | -4 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.023123 | -0.041468 | 72.2599 | Air to reactor (l/h) | - | 27.24
0.002 | 0.008 | 0.013 | -0.031 | -0.001 | 0.001 | 1.148 | -3.5 | -39.4635 | 0.53954 | -38.924 | 0.0021608 | 0.0030831 | -0.081548 | 322.7609 | O2 in reactor (l/h) | - | 3.174%
0.002 | 0.008 | 0.013 | -0.037 | -0.002 | 0.001 | 1.117 | -3 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.0030831 | -0.093572 | 167.4503 | Flow in reactor (l/h) | - | 179.64
0.002 | 0.008 | 0.013 | 0.014 | -0.001 | 0.001 | 1.125 | -2.5 | -39.4635 | 0.53954 | -38.924 | 0.0021608 | 0.0030831 | 0.0086326 | 207.5304 | Flow after reactor (l/h) | - | 220.02
0.003 | 0.008 | 0.013 | 0.023 | -0.002 | 0.001 | 1.151 | -2 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.026669 | 337.791 | O2 after reactor (%) | - | 3.002%
0.002 | 0.008 | 0.014 | 0.031 | -0.002 | 0.001 | 1.096 | -1.5 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.023123 | 0.042701 | 62.2399 | Normalisation to (mg) | - | 10
0.003 | 0.008 | 0.013 | 0.035 | -0.002 | 0.001 | 1.155 | -1 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.050717 | 357.831 | Droplet constant (normalised size/droplet) (wt ratio) | - | 20.04%
0.003 | 0.008 | 0.013 | 0.037 | -0.002 | 0.001 | 1.101 | -0.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.054725 | 87.29 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.003 | 0.008 | 0.013 | 0.036 | -0.003 | 0.001 | 1.147 | 0 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.0030831 | 0.052721 | 317.7509 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.002 | 0.008 | 0.013 | -0.003 | -0.002 | 0 | 1.104 | 0.5 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.0030831 | -0.025435 | 102.32 | Number of data points | - | 48
0.002 | 0.008 | 0.013 | 0.014 | -0.003 | 0.001 | 1.143 | 1 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | 0.0086326 | 297.7108
0.003 | 0.008 | 0.013 | 0.036 | -0.002 | 0.001 | 1.128 | 1.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.052721 | 222.5605 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.002 | 0.008 | 0.013 | 0.039 | -0.003 | 0.001 | 1.114 | 2 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | 0.058733 | 152.4202 | Measured max ppm | 0.060737 | 0.0021608 | 0.023123 | -37.4595 | 2.5435 | 2.5435
0.003 | 0.008 | 0.013 | 0.034 | -0.002 | 0 | 1.146 | 2.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | 0.048713 | 312.7409 | Integral (ppm*s) | -0.1288 | -0.011316 | 0.062433 | -406.3512 | 4.0851 | -201.133
0.003 | 0.008 | 0.013 | 0.03 | -0.003 | 0.001 | 1.103 | 3 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.0030831 | 0.040697 | 97.31 | N,S or C in gases | -4.4347e-06 | -3.8961e-07 | 4.9213e-06 | -0.011998 | 0.00012062 | -0.011877
0.002 | 0.008 | 0.013 | 0.018 | -0.002 | 0.001 | 1.111 | 3.5 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.0030831 | 0.016649 | 137.3902 | N,S or C released / 100 g sample | -5.0386e-05 | -4.4267e-06 | 5.5914e-05 | -0.13632 | 0.0013704 | -0.13495
0.002 | 0.008 | 0.013 | 0.011 | -0.003 | 0.001 | 1.15 | 4 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | 0.0026206 | 332.7809 | Maximum signal (volts) | 0.04 | -0.001 | 0.014 | 0.5 | 0.009 | 0.5
0.002 | 0.008 | 0.013 | -0.033 | -0.002 | 0 | 1.098 | 4.5 | -39.4635 | 0.53954 | -38.924 | 0.00068234 | 0.0030831 | -0.085556 | 72.2599
0.003 | 0.008 | 0.013 | -0.032 | -0.003 | 0.001 | 1.114 | 5 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.0030831 | -0.083552 | 152.4202
0.003 | 0.008 | 0.013 | -0.013 | -0.002 | 0.001 | 1.154 | 5.5 | -37.4595 | 0.53954 | -36.92 | 0.00068234 | 0.0030831 | -0.045476 | 352.821
0.003 | 0.009 | 0.014 | 0.04 | -0.003 | 0 | 1.132 | 6 | -37.4595 | 2.5435 | -34.916 | -0.00079607 | 0.023123 | 0.060737 | 242.6006 | Found in gases (% of DS) | -1.01e-05% | -8.871e-07% | 1.121e-05% | -0.02732% | 0.0002746% | -0.02704%
0.003 | 0.008 | 0.014 | 0.016 | -0.003 | 0 | 1.103 | 6.5 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.023123 | 0.012641 | 97.31 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.003 | 0.008 | 0.014 | -0.037 | -0.003 | 0.001 | 1.109 | 7 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.023123 | -0.093572 | 127.3701
0.003 | 0.008 | 0.013 | -0.02 | -0.003 | 0.001 | 1.152 | 7.5 | -37.4595 | 0.53954 | -36.92 | -0.00079607 | 0.0030831 | -0.059504 | 342.801
0.002 | 0.008 | 0.013 | 0.039 | -0.003 | 0 | 1.146 | 8 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | 0.058733 | 312.7409
0.002 | 0.008 | 0.013 | 0.015 | -0.003 | 0.001 | 1.137 | 8.5 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | 0.010637 | 267.6507
0.002 | 0.008 | 0.013 | -0.027 | -0.004 | 0 | 1.135 | 9 | -39.4635 | 0.53954 | -38.924 | -0.0022745 | 0.0030831 | -0.073532 | 257.6306
0.002 | 0.008 | 0.013 | 0.039 | -0.004 | 0.001 | 1.095 | 9.5 | -39.4635 | 0.53954 | -38.924 | -0.0022745 | 0.0030831 | 0.058733 | 57.2298
0.002 | 0.008 | 0.013 | 0.011 | -0.004 | 0 | 1.103 | 10 | -39.4635 | 0.53954 | -38.924 | -0.0022745 | 0.0030831 | 0.0026206 | 97.31
0.002 | 0.008 | 0.013 | -0.021 | -0.004 | 0.001 | 1.098 | 10.5 | -39.4635 | 0.53954 | -38.924 | -0.0022745 | 0.0030831 | -0.061508 | 72.2599
0.003 | 0.009 | 0.013 | 0.032 | -0.004 | 0 | 1.1 | 11 | -37.4595 | 2.5435 | -34.916 | -0.0022745 | 0.0030831 | 0.044705 | 82.2799
0.002 | 0.009 | 0.013 | -0.038 | -0.004 | 0 | 1.1 | 11.5 | -39.4635 | 2.5435 | -36.92 | -0.0022745 | 0.0030831 | -0.095576 | 82.2799
0.002 | 0.009 | 0.013 | 0.028 | -0.004 | 0.001 | 1.096 | 12 | -39.4635 | 2.5435 | -36.92 | -0.0022745 | 0.0030831 | 0.036689 | 62.2399
0.002 | 0.008 | 0.013 | 0.003 | -0.003 | 0 | 1.114 | 12.5 | -39.4635 | 0.53954 | -38.924 | -0.00079607 | 0.0030831 | -0.013411 | 152.4202
0.002 | 0.009 | 0.013 | 0.014 | -0.003 | 0 | 1.126 | 13 | -39.4635 | 2.5435 | -36.92 | -0.00079607 | 0.0030831 | 0.0086326 | 212.5405

## data-4
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark04 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.021538 | 0.0076538 |  | -0.00069231 | 0.012731 | 0.0026154 | 1.0753 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.002 | 0.008 | 0.013 | -0.035 | 0 | 0.001 | -10 | 824.9337 | -9.748 | 815.1857 | -0.043637 | -0.081565 | 0.017905 | -4630.8024 | Dry solids | 88.02% | -
0.002 | 0.008 | 0.012 | 0.018 | 0 | 0.001 | 1.135 | -9.5 | -33.687 | 0.59682 | -33.0902 | 0.00088058 | -0.012599 | 0.026525 | 257.1286 | Filename | 20090922-GSC3-bark04 | -
0.002 | 0.008 | 0.013 | 0.039 | -0.001 | 0.001 | 1.109 | -9 | -33.687 | 0.59682 | -33.0902 | -0.00039137 | 0.0046419 | 0.062732 | 145.0597 | droplet size (mg) | 58 | -
0.002 | 0.008 | 0.013 | -0.025 | -0.001 | 0.001 | 1.092 | -8.5 | -33.687 | 0.59682 | -33.0902 | -0.00039137 | 0.0046419 | -0.047613 | 71.7838 | Data acqusiton on | 10 | -
0.002 | 0.008 | 0.013 | -0.028 | -0.001 | 0.002 | 1.131 | -8 | -33.687 | 0.59682 | -33.0902 | -0.00039137 | 0.0046419 | -0.052785 | 239.8873 | Droplet in | 20 | -
0.003 | 0.008 | 0.013 | 0.021 | -0.001 | 0.001 | 1.113 | -7.5 | -31.9629 | 0.59682 | -31.366 | -0.00039137 | 0.0046419 | 0.031698 | 162.3011 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.002 | 0.007 | 0.013 | 0.039 | -0.001 | 0.002 | 1.088 | -7 | -33.687 | -1.1273 | -34.8143 | -0.00039137 | 0.0046419 | 0.062732 | 54.5424 | Purge air, side (l/min) | 0.072 | - | 737A
0.002 | 0.007 | 0.012 | 0.013 | 0 | 0.002 | 1.132 | -6.5 | -33.687 | -1.1273 | -34.8143 | 0.00088058 | -0.012599 | 0.017905 | 244.1976 | N2 to reactor (l/min) | 2.54 | - | 521C
0.002 | 0.008 | 0.013 | -0.014 | 0.001 | 0.002 | 1.143 | -6 | -33.687 | 0.59682 | -33.0902 | 0.0021525 | 0.0046419 | -0.028647 | 291.6114 | Air to reactor (l/min) | 0.454 | - | 521A
0.002 | 0.008 | 0.013 | -0.016 | 0.001 | 0.001 | 1.106 | -5.5 | -33.687 | 0.59682 | -33.0902 | 0.0021525 | 0.0046419 | -0.032095 | 132.1286 | N2 purge, side (l/h) | - | 36.06
0.002 | 0.007 | 0.013 | -0.017 | 0.002 | 0.001 | 1.095 | -5 | -33.687 | -1.1273 | -34.8143 | 0.0034245 | 0.0046419 | -0.03382 | 84.7149 | Purge air, side (l/h) | - | 4.32
0.003 | 0.008 | 0.013 | -0.016 | 0.002 | 0.001 | 1.122 | -4.5 | -31.9629 | 0.59682 | -31.366 | 0.0034245 | 0.0046419 | -0.032095 | 201.0942 | N2 to reactor (l/h) | - | 152.4
0.002 | 0.008 | 0.013 | -0.013 | 0.002 | 0.001 | 1.145 | -4 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | -0.026923 | 300.2321 | Air to reactor (l/h) | - | 27.24
0.002 | 0.008 | 0.013 | 0.029 | 0.002 | 0.001 | 1.114 | -3.5 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | 0.045491 | 166.6114 | O2 in reactor (l/h) | - | 3.174%
0.002 | 0.008 | 0.013 | 0.04 | 0.002 | 0.001 | 1.102 | -3 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | 0.064456 | 114.8873 | Flow in reactor (l/h) | - | 179.64
0.002 | 0.008 | 0.013 | 0.031 | 0.002 | 0.001 | 1.093 | -2.5 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | 0.048939 | 76.0942 | Flow after reactor (l/h) | - | 220.02
0.002 | 0.008 | 0.013 | 0.016 | 0.002 | 0.001 | 1.123 | -2 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | 0.023077 | 205.4045 | O2 after reactor (%) | - | 3.002%
0.002 | 0.008 | 0.013 | -0.039 | 0.002 | 0.002 | 1.142 | -1.5 | -33.687 | 0.59682 | -33.0902 | 0.0034245 | 0.0046419 | -0.071751 | 287.3011 | Normalisation to (mg) | - | 10
0.003 | 0.008 | 0.013 | -0.027 | 0.002 | 0.001 | 1.138 | -1 | -31.9629 | 0.59682 | -31.366 | 0.0034245 | 0.0046419 | -0.051061 | 270.0597 | Droplet constant (normalised size/droplet) (wt ratio) | - | 17.24%
0.003 | 0.008 | 0.013 | 0.031 | 0.002 | 0.002 | 1.111 | -0.5 | -31.9629 | 0.59682 | -31.366 | 0.0034245 | 0.0046419 | 0.048939 | 153.6804 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.003 | 0.008 | 0.013 | 0.021 | 0.002 | 0.002 | 1.099 | 0 | -31.9629 | 0.59682 | -31.366 | 0.0034245 | 0.0046419 | 0.031698 | 101.9562 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.003 | 0.008 | 0.013 | -0.038 | 0.002 | 0.001 | 1.092 | 0.5 | -31.9629 | 0.59682 | -31.366 | 0.0034245 | 0.0046419 | -0.070027 | 71.7838 | Number of data points | - | 44
0.003 | 0.008 | 0.013 | -0.013 | 0.001 | 0.001 | 1.127 | 1 | -31.9629 | 0.59682 | -31.366 | 0.0021525 | 0.0046419 | -0.026923 | 222.6459
0.003 | 0.008 | 0.013 | 0.021 | 0 | 0.001 | 1.123 | 1.5 | -31.9629 | 0.59682 | -31.366 | 0.00088058 | 0.0046419 | 0.031698 | 205.4045 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.003 | 0.008 | 0.013 | -0.035 | -0.001 | 0.001 | 1.143 | 2 | -31.9629 | 0.59682 | -31.366 | -0.00039137 | 0.0046419 | -0.064854 | 291.6114 | Measured max ppm | 0.064456 | 0.0034245 | 0.0046419 | -31.9629 | 2.321 | 2.321
0.003 | 0.008 | 0.013 | 0.017 | -0.004 | 0.002 | 1.14 | 2.5 | -31.9629 | 0.59682 | -31.366 | -0.0042072 | 0.0046419 | 0.024801 | 278.6804 | Integral (ppm*s) | -0.0029841 | -0.014138 | 0.039456 | -275.1326 | 0 | -137.5663
0.003 | 0.008 | 0.013 | 0.013 | -0.002 | 0.002 | 1.144 | 3 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | 0.017905 | 295.9218 | N,S or C in gases | -1.0275e-07 | -4.868e-07 | 3.1102e-06 | -0.0081235 | 0 | -0.0081235
0.003 | 0.008 | 0.013 | -0.018 | -0.002 | 0.002 | 1.137 | 3.5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.035544 | 265.7493 | N,S or C released / 100 g sample | -1.1674e-06 | -5.5309e-06 | 3.5337e-05 | -0.092297 | 0 | -0.092297
0.003 | 0.008 | 0.013 | 0.021 | -0.002 | 0.002 | 1.118 | 4 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | 0.031698 | 183.8528 | Maximum signal (volts) | 0.04 | 0.002 | 0.013 | 0.5 | 0.009 | 0.5
0.003 | 0.008 | 0.013 | -0.018 | -0.002 | 0.002 | 1.113 | 4.5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.035544 | 162.3011
0.003 | 0.008 | 0.013 | -0.007 | -0.002 | 0.002 | 1.103 | 5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.016578 | 119.1976
0.003 | 0.008 | 0.013 | 0.038 | -0.002 | 0.002 | 1.111 | 5.5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | 0.061008 | 153.6804
0.003 | 0.008 | 0.013 | -0.037 | -0.002 | 0.001 | 1.11 | 6 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.068302 | 149.37 | Found in gases (% of DS) | -2.013e-07% | -9.536e-07% | 6.093e-06% | -0.01591% | 0% | -0.01591%
0.002 | 0.008 | 0.013 | 0.03 | -0.002 | 0.002 | 1.106 | 6.5 | -33.687 | 0.59682 | -33.0902 | -0.0016633 | 0.0046419 | 0.047215 | 132.1286 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.002 | 0.008 | 0.013 | -0.017 | -0.002 | 0.001 | 1.134 | 7 | -33.687 | 0.59682 | -33.0902 | -0.0016633 | 0.0046419 | -0.03382 | 252.8183
0.002 | 0.008 | 0.013 | -0.021 | -0.002 | 0.001 | 1.136 | 7.5 | -33.687 | 0.59682 | -33.0902 | -0.0016633 | 0.0046419 | -0.040716 | 261.439
0.002 | 0.008 | 0.013 | 0.035 | -0.002 | 0.001 | 1.146 | 8 | -33.687 | 0.59682 | -33.0902 | -0.0016633 | 0.0046419 | 0.055836 | 304.5424
0.003 | 0.008 | 0.013 | -0.015 | -0.002 | 0.001 | 1.135 | 8.5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.030371 | 257.1286
0.003 | 0.008 | 0.013 | -0.036 | -0.002 | 0.001 | 1.127 | 9 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | -0.066578 | 222.6459
0.003 | 0.009 | 0.013 | 0.011 | -0.002 | 0.001 | 1.122 | 9.5 | -31.9629 | 2.321 | -29.6419 | -0.0016633 | 0.0046419 | 0.014456 | 201.0942
0.003 | 0.008 | 0.013 | 0.025 | -0.002 | 0.001 | 1.084 | 10 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | 0.038594 | 37.3011
0.003 | 0.008 | 0.013 | 0.039 | -0.002 | 0.001 | 1.104 | 10.5 | -31.9629 | 0.59682 | -31.366 | -0.0016633 | 0.0046419 | 0.062732 | 123.508
0.003 | 0.009 | 0.013 | -0.002 | -0.002 | 0.001 | 1.105 | 11 | -31.9629 | 2.321 | -29.6419 | -0.0016633 | 0.0046419 | -0.0079576 | 127.8183

## data-5
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark05 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.021654 | 0.0078462 |  | -0.00069231 | 0.012731 | -0.0096923 | 1.0817 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.002 | 0.008 | 0.012 | 0.034 | -0.001 | 0.002 | -10 | 746.2498 | -9.1204 | 737.1295 | 0.039927 | -0.073803 | 0.033841 | -4210.9684 | Dry solids | 88.02% | -
0.003 | 0.008 | 0.013 | -0.012 | -0.001 | 0.001 | 1.134 | -9.5 | -29.1012 | 0.24001 | -28.8612 | -0.00035412 | 0.0042002 | -0.0036001 | 204.0082 | Filename | 20090922-GSC3-bark05 | -
0.002 | 0.009 | 0.013 | -0.029 | -0.001 | 0.001 | 1.114 | -9 | -30.6612 | 1.8001 | -28.8612 | -0.00035412 | 0.0042002 | -0.030121 | 126.005 | droplet size (mg) | 64.1 | -
0.002 | 0.008 | 0.012 | -0.014 | -0.002 | 0.001 | 1.096 | -8.5 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | -0.0114 | -0.0067203 | 55.8022 | Data acqusiton on | 0 | -
0.002 | 0.008 | 0.013 | 0.019 | -0.001 | 0.001 | 1.145 | -8 | -30.6612 | 0.24001 | -30.4212 | -0.00035412 | 0.0042002 | 0.044762 | 246.9099 | Droplet in | 10 | -
0.003 | 0.008 | 0.013 | 0.034 | -0.001 | 0.001 | 1.1 | -7.5 | -29.1012 | 0.24001 | -28.8612 | -0.00035412 | 0.0042002 | 0.068163 | 71.4029 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.004 | 0.008 | 0.014 | 0.036 | -0.001 | 0.001 | 1.102 | -7 | -27.5411 | 0.24001 | -27.3011 | -0.00035412 | 0.019801 | 0.071283 | 79.2032 | Purge air, side (l/min) | 0.072 | - | 737A
0.002 | 0.008 | 0.013 | -0.013 | -0.002 | 0.001 | 1.135 | -6.5 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | 0.0042002 | -0.0051602 | 207.9083 | N2 to reactor (l/min) | 2.54 | - | 521C
0.002 | 0.008 | 0.012 | -0.026 | -0.002 | 0.001 | 1.127 | -6 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | -0.0114 | -0.025441 | 176.7071 | Air to reactor (l/min) | 0.454 | - | 521A
0.003 | 0.008 | 0.013 | -0.037 | -0.002 | 0.001 | 1.106 | -5.5 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.0042002 | -0.042602 | 94.8038 | N2 purge, side (l/h) | - | 36.06
0.002 | 0.008 | 0.012 | -0.033 | -0.002 | 0.001 | 1.092 | -5 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | -0.0114 | -0.036361 | 40.2016 | Purge air, side (l/h) | - | 4.32
0.003 | 0.008 | 0.013 | -0.033 | -0.003 | 0.001 | 1.133 | -4.5 | -29.1012 | 0.24001 | -28.8612 | -0.0026559 | 0.0042002 | -0.036361 | 200.108 | N2 to reactor (l/h) | - | 152.4
0.002 | 0.008 | 0.013 | -0.035 | -0.003 | 0.001 | 1.131 | -4 | -30.6612 | 0.24001 | -30.4212 | -0.0026559 | 0.0042002 | -0.039482 | 192.3077 | Air to reactor (l/h) | - | 27.24
0.002 | 0.009 | 0.013 | -0.035 | -0.002 | 0.001 | 1.146 | -3.5 | -30.6612 | 1.8001 | -28.8612 | -0.001505 | 0.0042002 | -0.039482 | 250.81 | O2 in reactor (l/h) | - | 3.174%
0.002 | 0.008 | 0.013 | -0.038 | -0.003 | 0.001 | 1.146 | -3 | -30.6612 | 0.24001 | -30.4212 | -0.0026559 | 0.0042002 | -0.044162 | 250.81 | Flow in reactor (l/h) | - | 179.64
0.003 | 0.008 | 0.013 | -0.036 | -0.002 | 0.001 | 1.145 | -2.5 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.0042002 | -0.041042 | 246.9099 | Flow after reactor (l/h) | - | 220.02
0.003 | 0.008 | 0.013 | -0.029 | -0.003 | 0.001 | 1.149 | -2 | -29.1012 | 0.24001 | -28.8612 | -0.0026559 | 0.0042002 | -0.030121 | 262.5105 | O2 after reactor (%) | - | 3.002%
0.003 | 0.008 | 0.013 | -0.02 | -0.003 | 0.001 | 1.138 | -1.5 | -29.1012 | 0.24001 | -28.8612 | -0.0026559 | 0.0042002 | -0.016081 | 219.6088 | Normalisation to (mg) | - | 10
0.002 | 0.008 | 0.013 | -0.013 | -0.003 | 0.001 | 1.145 | -1 | -30.6612 | 0.24001 | -30.4212 | -0.0026559 | 0.0042002 | -0.0051602 | 246.9099 | Droplet constant (normalised size/droplet) (wt ratio) | - | 15.6%
0.003 | 0.008 | 0.013 | 0.025 | -0.003 | 0.001 | 1.13 | -0.5 | -29.1012 | 0.24001 | -28.8612 | -0.0026559 | 0.0042002 | 0.054122 | 188.4075 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.002 | 0.008 | 0.013 | 0.036 | -0.002 | 0.001 | 1.127 | 0 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | 0.0042002 | 0.071283 | 176.7071 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.002 | 0.008 | 0.013 | 0.021 | -0.002 | 0.001 | 1.099 | 0.5 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | 0.0042002 | 0.047882 | 67.5027 | Number of data points | - | 52
0.002 | 0.008 | 0.013 | -0.035 | -0.002 | 0.001 | 1.105 | 1 | -30.6612 | 0.24001 | -30.4212 | -0.001505 | 0.0042002 | -0.039482 | 90.9036
0.003 | 0.008 | 0.013 | -0.026 | -0.002 | 0.001 | 1.15 | 1.5 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.0042002 | -0.025441 | 266.4107 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.003 | 0.008 | 0.013 | -0.002 | -0.002 | 0.001 | 1.122 | 2 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.0042002 | 0.012 | 157.2063 | Measured max ppm | 0.075963 | 0.039927 | 0.019801 | -27.5411 | 1.8001 | 1.8001
0.003 | 0.008 | 0.013 | 0.031 | -0.002 | 0.001 | 1.105 | 2.5 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.0042002 | 0.063483 | 90.9036 | Integral (ppm*s) | 0.21865 | 0.020318 | 0.1071 | -367.6647 | 0.96004 | -183.3523
0.003 | 0.008 | 0.014 | -0.034 | -0.002 | 0.001 | 1.145 | 3 | -29.1012 | 0.24001 | -28.8612 | -0.001505 | 0.019801 | -0.037922 | 246.9099 | N,S or C in gases | 7.5285e-06 | 6.9958e-07 | 8.4426e-06 | -0.010856 | 2.8346e-05 | -0.010827
0.003 | 0.008 | 0.014 | -0.021 | 0.002 | 0.002 | 1.108 | 3.5 | -29.1012 | 0.24001 | -28.8612 | 0.0030986 | 0.019801 | -0.017641 | 102.6041 | N,S or C released / 100 g sample | 8.5536e-05 | 7.9484e-06 | 9.5922e-05 | -0.12334 | 0.00032206 | -0.12302
0.003 | 0.008 | 0.013 | 0.039 | 0 | 0.001 | 1.113 | 4 | -29.1012 | 0.24001 | -28.8612 | 0.00079678 | 0.0042002 | 0.075963 | 122.1049 | Maximum signal (volts) | 0.039 | 0.034 | 0.014 | 0.5 | 0.009 | 0.5
0.004 | 0.008 | 0.014 | 0.012 | 0 | 0.001 | 1.122 | 4.5 | -27.5411 | 0.24001 | -27.3011 | 0.00079678 | 0.019801 | 0.033841 | 157.2063
0.004 | 0.008 | 0.014 | -0.027 | -0.001 | 0 | 1.113 | 5 | -27.5411 | 0.24001 | -27.3011 | -0.00035412 | 0.019801 | -0.027001 | 122.1049
0.004 | 0.008 | 0.014 | 0.034 | 0 | 0 | 1.125 | 5.5 | -27.5411 | 0.24001 | -27.3011 | 0.00079678 | 0.019801 | 0.068163 | 168.9068
0.004 | 0.009 | 0.014 | 0.013 | 0 | 0 | 1.114 | 6 | -27.5411 | 1.8001 | -25.741 | 0.00079678 | 0.019801 | 0.035401 | 126.005 | Found in gases (% of DS) | 1.334e-05% | 1.24e-06% | 1.496e-05% | -0.01924% | 5.024e-05% | -0.01919%
0.003 | 0.008 | 0.013 | -0.021 | 0 | 0 | 1.097 | 6.5 | -29.1012 | 0.24001 | -28.8612 | 0.00079678 | 0.0042002 | -0.017641 | 59.7024 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.003 | 0.008 | 0.013 | 0.035 | 0 | 0 | 1.137 | 7 | -29.1012 | 0.24001 | -28.8612 | 0.00079678 | 0.0042002 | 0.069723 | 215.7086
0.003 | 0.008 | 0.014 | -0.038 | 0.001 | 0 | 1.112 | 7.5 | -29.1012 | 0.24001 | -28.8612 | 0.0019477 | 0.019801 | -0.044162 | 118.2047
0.003 | 0.008 | 0.013 | 0.035 | 0.001 | 0 | 1.093 | 8 | -29.1012 | 0.24001 | -28.8612 | 0.0019477 | 0.0042002 | 0.069723 | 44.1018
0.003 | 0.008 | 0.013 | -0.014 | 0.001 | 0 | 1.098 | 8.5 | -29.1012 | 0.24001 | -28.8612 | 0.0019477 | 0.0042002 | -0.0067203 | 63.6025
0.003 | 0.008 | 0.013 | -0.034 | 0.001 | 0 | 1.1 | 9 | -29.1012 | 0.24001 | -28.8612 | 0.0019477 | 0.0042002 | -0.037922 | 71.4029
0.002 | 0.008 | 0.013 | 0.012 | 0.002 | 0 | 1.1 | 9.5 | -30.6612 | 0.24001 | -30.4212 | 0.0030986 | 0.0042002 | 0.033841 | 71.4029
0.003 | 0.009 | 0.013 | 0.036 | 0.002 | 0 | 1.11 | 10 | -29.1012 | 1.8001 | -27.3011 | 0.0030986 | 0.0042002 | 0.071283 | 110.4044
0.003 | 0.009 | 0.013 | -0.023 | 0.002 | 0 | 1.097 | 10.5 | -29.1012 | 1.8001 | -27.3011 | 0.0030986 | 0.0042002 | -0.020761 | 59.7024
0.002 | 0.008 | 0.013 | 0.02 | 0.001 | 0 | 1.099 | 11 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | 0.046322 | 67.5027
0.002 | 0.008 | 0.013 | -0.014 | 0.001 | 0 | 1.09 | 11.5 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | -0.0067203 | 32.4013
0.002 | 0.008 | 0.013 | -0.027 | 0.001 | 0 | 1.094 | 12 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | -0.027001 | 48.0019
0.002 | 0.008 | 0.013 | 0.036 | 0.001 | 0.001 | 1.105 | 12.5 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | 0.071283 | 90.9036
0.002 | 0.008 | 0.013 | -0.02 | 0.001 | 0 | 1.107 | 13 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | -0.016081 | 98.7039
0.002 | 0.008 | 0.013 | 0.012 | 0.001 | 0.001 | 1.115 | 13.5 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | 0.033841 | 129.9052
0.003 | 0.008 | 0.013 | 0.039 | 0.001 | 0.001 | 1.105 | 14 | -29.1012 | 0.24001 | -28.8612 | 0.0019477 | 0.0042002 | 0.075963 | 90.9036
0.002 | 0.008 | 0.013 | -0.027 | 0.001 | 0.001 | 1.094 | 14.5 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | -0.027001 | 48.0019
0.002 | 0.008 | 0.013 | 0.015 | 0.001 | 0.001 | 1.095 | 15 | -30.6612 | 0.24001 | -30.4212 | 0.0019477 | 0.0042002 | 0.038522 | 51.9021

## data-6
CO | CO2 | SO2 | NO | NO fast | NO slow | O2 |  | CO | CO2 | CO+CO2 | NO fast | SO2 | NO | O2 | Input taken from the worksheet "Charts" | INPUT | OUTPUT
(ABB) | (ABB) | (ABB) | (Serv.) | (PPM) | (PPM) | (Serv.) |  | (ABB) | (ABB) | (ABB) | (PPM) | (ABB) | (Serv.) | (Serv.) | Black liquor | Bark | -
100000 | 100000 | 1000 | 100 | 60 | 60 | 250000 | Range | 20090922-GSC3-bark06 | [6 empty] | Nitrogen content (% of DS) |  | -
CO 10% | CO2 10% | SO2 1000ppm | NO 100ppm | 0 | 0 | O2 25% |  | 0.021885 | 0.0076923 |  | 0.00026923 | 0.012269 | -0.0030385 | 1.073 | Sulfu content (% of DS) |  | -
0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | freq. (1/s)= | Calculated (ppm) | [6 empty] | Carbon content (% of DS) |  | -
0.5 | 0.002 | 0.007 | 0.012 | -0.035 | -0.003 | 0.001 | -10 | 1012.9563 | -12.06 | 1000.8963 | -0.0051097 | -0.11164 | 0.031861 | -5677.9661 | Dry solids | 88.02% | -
0.002 | 0.007 | 0.012 | -0.038 | -0.003 | 0.001 | 1.102 | -9.5 | -42.1284 | -1.4668 | -43.5952 | 0.0011422 | -0.005704 | -0.074071 | 153.6017 | Filename | 20090922-GSC3-bark06 | -
0.003 | 0.008 | 0.012 | -0.038 | -0.003 | 0.001 | 1.107 | -9 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | -0.074071 | 180.0847 | droplet size (mg) | 47.2 | -
0.003 | 0.007 | 0.013 | -0.034 | -0.002 | 0.001 | 1.105 | -8.5 | -40.0098 | -1.4668 | -41.4765 | 0.0011422 | 0.015482 | -0.065596 | 169.4915 | Data acqusiton on | 0 | -
0.003 | 0.008 | 0.013 | -0.023 | -0.002 | 0.001 | 1.147 | -8 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | -0.042291 | 391.9492 | Droplet in | 10 | -
0.003 | 0.008 | 0.013 | -0.012 | -0.003 | 0.001 | 1.129 | -7.5 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | -0.018986 | 296.6102 | N2 purge, side (l/min) | 0.601 | - | 521B and 737B
0.003 | 0.008 | 0.013 | 0.021 | -0.003 | 0.001 | 1.125 | -7 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | 0.050929 | 275.4237 | Purge air, side (l/min) | 0.072 | - | 737A
0.002 | 0.008 | 0.011 | 0.038 | -0.003 | 0.001 | 1.097 | -6.5 | -42.1284 | 0.65189 | -41.4765 | 0.0011422 | -0.02689 | 0.086946 | 127.1186 | N2 to reactor (l/min) | 2.54 | - | 521C
0.003 | 0.008 | 0.013 | 0.03 | -0.003 | 0 | 1.113 | -6 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | 0.069997 | 211.8644 | Air to reactor (l/min) | 0.454 | - | 521A
0.002 | 0.008 | 0.012 | 0.021 | -0.002 | 0 | 1.139 | -5.5 | -42.1284 | 0.65189 | -41.4765 | -0.0004208 | -0.005704 | 0.050929 | 349.5763 | N2 purge, side (l/h) | - | 36.06
0.003 | 0.008 | 0.013 | -0.007 | -0.003 | 0 | 1.085 | -5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.0083931 | 63.5593 | Purge air, side (l/h) | - | 4.32
0.003 | 0.008 | 0.013 | -0.039 | -0.003 | 0 | 1.113 | -4.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.07619 | 211.8644 | N2 to reactor (l/h) | - | 152.4
0.003 | 0.008 | 0.013 | -0.019 | -0.003 | 0 | 1.132 | -4 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.033817 | 312.5 | Air to reactor (l/h) | - | 27.24
0.003 | 0.008 | 0.012 | 0.023 | -0.003 | 0 | 1.096 | -3.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.055166 | 121.822 | O2 in reactor (l/h) | - | 3.174%
0.003 | 0.008 | 0.013 | 0.03 | -0.002 | 0 | 1.146 | -3 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | 0.069997 | 386.6525 | Flow in reactor (l/h) | - | 179.64
0.003 | 0.008 | 0.012 | 0.012 | -0.002 | 0 | 1.086 | -2.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.031861 | 68.8559 | Flow after reactor (l/h) | - | 220.02
0.002 | 0.008 | 0.012 | -0.038 | -0.002 | 0.001 | 1.148 | -2 | -42.1284 | 0.65189 | -41.4765 | 0.0011422 | -0.005704 | -0.074071 | 397.2458 | O2 after reactor (%) | - | 3.002%
0.002 | 0.008 | 0.012 | -0.022 | -0.001 | 0.001 | 1.09 | -1.5 | -42.1284 | 0.65189 | -41.4765 | 0.0011422 | -0.005704 | -0.040173 | 90.0424 | Normalisation to (mg) | - | 10
0.003 | 0.008 | 0.012 | 0.004 | -0.001 | 0.001 | 1.139 | -1 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | 0.014912 | 349.5763 | Droplet constant (normalised size/droplet) (wt ratio) | - | 21.19%
0.003 | 0.008 | 0.013 | 0.037 | 0 | 0 | 1.107 | -0.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | 0.084827 | 180.0847 | Gascalc. const. (from ideal gas low) (ppm-> mg) | - | 2.4582e-06
0.003 | 0.008 | 0.012 | 0.022 | 0 | 0 | 1.101 | 0 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.053048 | 148.3051 | Droplets in 100g DS (normalisation to 100g) | - | 11361.6997
0.003 | 0.008 | 0.013 | -0.019 | 0 | 0 | 1.144 | 0.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.033817 | 376.0593 | Number of data points | - | 46
0.003 | 0.008 | 0.013 | -0.038 | 0.001 | 0 | 1.101 | 1 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.074071 | 148.3051
0.003 | 0.008 | 0.012 | -0.028 | 0.001 | 0 | 1.097 | 1.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | -0.052885 | 127.1186 | 1100 | NO (Serv.) | NO (PPM) | SO2 (ABB) | CO (ABB) | CO2 (ABB) | CO+CO2 (ABB)
0.003 | 0.008 | 0.013 | -0.013 | 0.001 | 0 | 1.115 | 2 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | 0.015482 | -0.021105 | 222.4576 | Measured max ppm | 0.091183 | 0.0011422 | 0.015482 | -40.0098 | 2.7705 | 2.7705
0.002 | 0.008 | 0.012 | 0.039 | 0.002 | 0 | 1.133 | 2.5 | -42.1284 | 0.65189 | -41.4765 | -0.0004208 | -0.005704 | 0.089065 | 317.7966 | Integral (ppm*s) | 0.11412 | 0.0053803 | 0.019964 | -385.3895 | 0.65189 | -192.3688
0.003 | 0.008 | 0.012 | 0.027 | 0.002 | 0 | 1.145 | 3 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.063641 | 381.3559 | N,S or C in gases | 3.9294e-06 | 1.8525e-07 | 1.5737e-06 | -0.011379 | 1.9248e-05 | -0.01136
0.003 | 0.008 | 0.012 | 0.002 | 0.002 | 0 | 1.131 | 3.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.010675 | 307.2034 | N,S or C released / 100 g sample | 4.4645e-05 | 2.1048e-06 | 1.788e-05 | -0.12928 | 0.00021869 | -0.12907
0.002 | 0.008 | 0.012 | -0.033 | 0.002 | 0 | 1.118 | 4 | -42.1284 | 0.65189 | -41.4765 | -0.0004208 | -0.005704 | -0.063478 | 238.3475 | Maximum signal (volts) | 0.04 | 0.003 | 0.013 | 0.5 | 0.009 | 0.5
0.002 | 0.008 | 0.012 | -0.017 | 0.003 | 0 | 1.105 | 4.5 | -42.1284 | 0.65189 | -41.4765 | -0.0004208 | -0.005704 | -0.02958 | 169.4915
0.002 | 0.008 | 0.012 | 0.034 | 0.002 | 0 | 1.11 | 5 | -42.1284 | 0.65189 | -41.4765 | -0.0004208 | -0.005704 | 0.078471 | 195.9746
0.003 | 0.008 | 0.012 | 0.025 | 0.003 | 0 | 1.11 | 5.5 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | 0.059404 | 195.9746
0.003 | 0.008 | 0.012 | -0.035 | 0.002 | 0 | 1.106 | 6 | -40.0098 | 0.65189 | -39.3579 | -0.0004208 | -0.005704 | -0.067715 | 174.7881 | Found in gases (% of DS) | 9.459e-06% | 4.459e-07% | 3.788e-06% | -0.02739% | 4.633e-05% | -0.02734%
0.003 | 0.008 | 0.012 | -0.019 | 0.002 | 0.001 | 1.14 | 6.5 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | -0.033817 | 354.8729 | Found in gases (% of ini N, S or C) | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0.003 | 0.008 | 0.012 | 0.039 | 0.002 | 0.001 | 1.135 | 7 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | 0.089065 | 328.3898
0.003 | 0.008 | 0.012 | -0.002 | 0.002 | 0.001 | 1.134 | 7.5 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | 0.0022001 | 323.0932
0.003 | 0.008 | 0.012 | -0.02 | 0.002 | 0.001 | 1.097 | 8 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | -0.005704 | -0.035935 | 127.1186
0.003 | 0.009 | 0.012 | 0.037 | 0.002 | 0.001 | 1.098 | 8.5 | -40.0098 | 2.7705 | -37.2392 | 0.0011422 | -0.005704 | 0.084827 | 132.4153
0.003 | 0.009 | 0.013 | -0.009 | 0.002 | 0.001 | 1.144 | 9 | -40.0098 | 2.7705 | -37.2392 | 0.0011422 | 0.015482 | -0.01263 | 376.0593
0.003 | 0.008 | 0.013 | -0.022 | 0.002 | 0.001 | 1.123 | 9.5 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | -0.040173 | 264.8305
0.003 | 0.008 | 0.013 | 0.04 | 0.002 | 0.001 | 1.1 | 10 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | 0.091183 | 143.0085
0.002 | 0.008 | 0.013 | 0.019 | 0.002 | 0.001 | 1.141 | 10.5 | -42.1284 | 0.65189 | -41.4765 | 0.0011422 | 0.015482 | 0.046692 | 360.1695
0.003 | 0.008 | 0.013 | -0.038 | 0.002 | 0.001 | 1.115 | 11 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | -0.074071 | 222.4576
0.003 | 0.008 | 0.013 | -0.016 | 0.002 | 0.001 | 1.11 | 11.5 | -40.0098 | 0.65189 | -39.3579 | 0.0011422 | 0.015482 | -0.027461 | 195.9746
0.002 | 0.008 | 0.013 | 0.038 | 0.002 | 0.001 | 1.125 | 12 | -42.1284 | 0.65189 | -41.4765 | 0.0011422 | 0.015482 | 0.086946 | 275.4237